 **P.E.S. COLLEGE OF ENGINEERING MANDYA, KARNATAKA**

Ph: 08232-220043, Ext: 289

Fax: 08232-222075

Email:pesce.teqipcell@gmail.com

**OFFICE OF THE TEQIP CELL**

**INVITATION FOR QUOTATION**

**TEQIP-III/2018/pcem/Shopping/36 19-Nov-2018**

To,

|  |  |
| --- | --- |
| Asian Industrial SystemB-16, Industrial Area, Mogappair East, Chennai, Tamil Nadu, 600037  | Uni Klinger LtdSCI, 5th Floor, Kohinoor Estate, Mumbai, Pune Highway, Khadki, Pune, Maharashtra |
| NETEL (India) LtdEast coast centre, V-floor, Annabalai, Teynanpet, Chennai, Tamil Nadu, 600018  | Sri Mahaalakshmi Scientific CompanyMahaalakshmi Sri Venkata Perumal Raja Building, No. 9, Leo complex street, Pallikaranai, Chennai, Tamil Nadu  |

**Sub: Invitation for Quotations for supply of Goods**

Dear Sir,

1. You are invited to submit your most competitive quotation for the following goods with item wise detailed specifications given at Annexure I,

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Sr. No** | **Brief Description** | **Quantity** | **Delivery Period (In days)** | **Place of Delivery** | **Installation Requirement (if any)** |
| 1 | FIVE GAS ANALYZER | 1 | 90 | Department of Automobile Engineering, P E S College of Engineering, K V Shankara Gowda Road, Mandya - 571401 |  |

1. Government of India has received a credit from the International Development Association (IDA) towards the cost of the **Technical Education Quality Improvement Programme [TEQIP]-Phase III** Project and intends to apply part of the proceeds of this credit to eligible payments under the contract for which this invitation for quotations is issued.
2. Quotation,
	1. The contract shall be for the full quantity as described above.
	2. Corrections, if any, shall be made by crossing out, initialing, dating and re writing.
	3. All duties and other levies payable by the supplier under the contract shall be included in the unit price.
	4. Applicable taxes shall be quoted separately for all items.
	5. The prices quoted by the bidder shall be fixed for the duration of the contract and shall not be subject to adjustment on any account.
	6. The Prices should be quoted in Indian Rupees only.
3. Each bidder shall submit only one quotation.
4. Quotation shall remain valid for a period not less than **55** days after the last date of quotation submission.
5. Evaluation of Quotations,

The Purchaser will evaluate and compare the quotations determined to be substantially responsive i.e. which

* 1. are properly signed ; and
	2. confirm to the terms and conditions, and specifications.
1. The Quotations would be evaluated for all items together.
2. Award of contract:

The Purchaser will award the contract to the bidder whose quotation has been determined to be substantially responsive and who has offered the lowest evaluated quotation price.

* 1. Notwithstanding the above, the Purchaser reserves the right to accept or reject any quotations and to cancel the bidding process and reject all quotations at any time prior to the award of contract.
	2. The bidder whose bid is accepted will be notified of the award of contract by the Purchaser prior to expiration of the quotation validity period. The terms of the accepted offer shall be incorporated in the purchase order.
1. Payment shall be made in Indian Rupees as follows:

|  |
| --- |
| **Delivery and Installation - 0% of total cost****Satisfactory Acceptance - 100% of total cost** |

1. All supplied items are under warranty of **12** months from the date of successful acceptance of items.
2. You are requested to provide your offer latest by **15:30** hours on **10-Dec-2018 .**
3. Detailed specifications of the items are at Annexure I.
4. Training Clause (if any)
5. Testing/Installation Clause (if any)
6. Information brochures/ Product catalogue, if any must be accompanied with the quotation clearly indicating the model quoted for.
7. Sealed quotation to be submitted/ delivered at the address mentioned below,

**Office of the TEQIP Cell, PES College of Engineering, K V Shankara Gowda Road, Mandya - 571 401, Karnataka, India Phone: 08232 220043 Ext: 289**

17. We look forward to receiving your quotation and thank you for your interest in this project.

**Head of the Procuring Nodal officer Principal**

 **Department Procurement**

**Annexure I**

|  |  |  |
| --- | --- | --- |
| **Sr. No** | **Item Name** | **Specifications** |
| 1 | **FIVE GAS ANALYZER** | **Microprocessor based Multi Gas Analyzer for CO, CO2, O2, HC & NOX [Five Gas] Model NPM-MGA-1 without RPM, Oil Temp & with Printer Latest**  **SPECIFICATION [FIVE GAS ANALYZER]**HC ( HYDROCARBON) NDIR -[0-20.000 PPM:1PPM]CO (CORBON MONOXIDE)NDIR-[0-9.99%:0.01%]CO2 ( CORBON DI OXIDE)NDIR-[0-20%:0.10%]O2 (OXYGEN) ELECTROCHEMICAL-[0-25%:0.01%]NOx (NITRIC OXIDE) ELECTROCHEMICAL- [0-5000 PPM:1PPM]LAMBDA:[0.200-1.800:0.001%]AIR/FUEL :0-30:1:1OIL TEMPARATURE PROBE 0-150˚C: 1˚CRPM PROBE-0-9990RPM : 1RPM [INDUCTION ]RPM PROBE-0-9990RPM : 1RPM [RIPPLE ]ACCURACYCO:+/-0.03% abs / +/-3% rel(0-10%) which ever I is higherCO2:+/-0.04% abs or +/-4% rel which ever I is higherHC: +/- 10ppm abs or +/- 5% rel (0-2000ppm) O2: +/- 10ppm abs or +/- 5% rel (0-2000ppm)NOX:+/- 0.01 % absor +/- 3% rel(0-4000ppm**)****+/- 5% rel (4000-5000 ppm) which ever is higher** |

**FORMAT FOR QUOTATION SUBMISSION**

(In letterhead of the supplier with seal)

Date: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

To:

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Sl. No. | Description of goods (with full Specifications) | Qty. | Unit | Quoted Unit rate in Rs.(Including Ex Factory price, excise duty, packing and forwarding, transportation, insurance, other local costs incidental to delivery and warranty/ guaranty commitments)  | Total Price (A) | Sales tax and other taxes payable |
| In % | In figures (B) |
|  |  |  |  |  |  |  |  |
| **Total Cost** |  |  |  |

Gross Total Cost (A+B): Rs. \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

We agree to supply the above goods in accordance with the technical specifications for a total contract price of Rs. ———————— (Amount in figures) (Rupees ————————amount in words) within the period specified in the Invitation for Quotations.

We confirm that the normal commercial warranty/ guarantee of ——————— months shall apply to the offered items and we also confirm to agree with terms and conditions as mentioned in the Invitation Letter.

We hereby certify that we have taken steps to ensure that no person acting for us or on our behalf will engage in bribery.

Signature of Supplier

Name: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Address: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Contact No: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_